Information

| Model identifier : TRIATHERM EUROLINE HARMOLINE BRT 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of heating : Radiant tube |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel |  |  |  |  | Fuel |  |  |  |  |  | Space heating emissions(*) |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | NOx |  |  |  |  |  |  |
| Select fuel type |  |  |  |  | Gaseous |  |  | G20/G25/G31 |  |  | 131 mg/kWh input(GCV) |  |  |  |  |  |  |
| Characteristics when operating with the preferred fuel only |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item | Symbol |  |  | Value |  | Unit |  |  | Item |  |  | Symbol |  | Value |  | Unit |  |
| Heat output |  |  |  |  |  |  |  |  | Useful efficiency (GCV) – Tube local space heaters only |  |  |  |  |  |  |  |  |
| Nominal heat output | Pnom |  |  | (N.A) |  | kW |  |  | Useful efficiency (GCV) at nominal heat output |  |  |  | Ƞth, nom |  | 82,1 |  | % |
| Minimum heat output | Pmin |  |  | (N.A) |  | kW |  |  | Useful efficiency at minimum heat output |  |  |  | Ƞth,min |  | (N.A) |  | % |
| Minimum heat output ( as percentage of nominal heat output) | .. |  |  | (N.A) |  | % |  |  |  |  |  |  |  |  |  |  |  |
| Nominal tube system heat output ( if applicable) | P system |  |  | (N.A) |  | kW |  |  |  |  |  |  |  |  |  |  |  |
| Nominal tube segment heat output (if applicable) | P heater |  |  | 18,2 |  | kW |  |  | Useful efficiency of tube segment at minimum heat output ( if applicable) |  |  |  | Ƞi |  | (N.A) |  | % |
| (Repeat for multiple segment, if applicable) | .. |  |  | (N.A) |  | kW |  |  | (repeat for multiple segments, if applicable) |  |  |  | .. |  | (N.A) |  | % |
| Number of identical tube segments | n |  |  | (N.A) |  | (-) |  |  |  |  |  |  |  |  |  |  |  |
| Radiant factor |  |  |  |  |  |  |  |  | Envelope losses |  |  |  |  |  |  |  |  |
| Radiant factor at nominal heat output | RFnom |  |  | 59,2 |  | (-) |  |  | Envelope insulation class |  |  |  | U |  | (N.A) |  | W/ (m²K) |
| Radiant factor at minimum heat output | RFmin |  |  | (N.A) |  | (-) |  |  | Envelope loss factor |  |  |  | F env |  | (N.A) |  | % |
| Radiant factor of tube segment at nominal heat output | RFi |  |  | (N.A) |  | (-) |  |  | Heat generator to be installed outside the heated area |  |  |  |  |  | No |  |  |
| (repeat for multiple segments, if applicable) | .. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Auxiliary electricity consumption |  |  |  |  |  |  |  |  | Heat output control type ( select one) |  |  |  |  |  |  |  |  |
| At nominal heat output | el max |  |  | 0,247 |  | kW |  |  | Single stage |  |  |  |  |  | yes |  |  |
| At minimum heat output | el min |  |  | 0,247 |  | kW |  |  | Two stage |  |  |  |  |  | no |  |  |
| In standby mode | el SB |  |  | (N.A) |  | kW |  |  | Modulating |  |  |  |  |  | no |  |  |
| Permanent pilot flame power requirement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pilot flame power requirement (if applicable) |  | P pilot | (N.A) |  |  | kW |  |  |  |  |  |  |  |  |  |  |  |
| Contact details |  | SOLARONICS Chauffage SA. 78 rue du Kemmel - B.P. 30173 – 59428 ARMENTIERES CEDEX France |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (*) NOx = nitrogen oxides |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Model identifier : TRIATHERM EUROLINE HARMOLINE BRT 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of heating : Radiant tube |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel |  |  |  |  | Fuel |  |  |  |  |  | Space heating emissions(*) |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | NOx |  |  |  |  |  |  |
| Select fuel type |  |  |  |  | Gaseous |  |  | G20/G25/G31 |  |  | 132 mg/kWh input(GCV) |  |  |  |  |  |  |
| Characteristics when operating with the preferred fuel only |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item | Symbol |  |  | Value |  | Unit |  |  | Item |  |  | Symbol |  | Value |  | Unit |  |
| Heat output |  |  |  |  |  |  |  |  | Useful efficiency (GCV) – Tube local space heaters only |  |  |  |  |  |  |  |  |
| Nominal heat output | Pnom |  |  | (N.A) |  | kW |  |  | Useful efficiency (GCV) at nominal heat output |  |  |  | Ƞth, nom |  | 82,1 |  | % |
| Minimum heat output | Pmin |  |  | (N.A) |  | kW |  |  | Useful efficiency at minimum heat output |  |  |  | Ƞth,min |  | (N.A) |  | % |
| Minimum heat output ( as percentage of nominal heat output) | .. |  |  | (N.A) |  | % |  |  |  |  |  |  |  |  |  |  |  |
| Nominal tube system heat output ( if applicable) | P system |  |  | (N.A) |  | kW |  |  |  |  |  |  |  |  |  |  |  |
| Nominal tube segment heat output (if applicable) | P heater |  |  | 27,3 |  | kW |  |  | Useful efficiency of tube segment at minimum heat output ( if applicable) |  |  |  | Ƞi |  | (N.A) |  | % |
| (Repeat for multiple segment, if applicable) | .. |  |  | (N.A) |  | kW |  |  | (repeat for multiple segments, if applicable) |  |  |  | .. |  | (N.A) |  | % |
| Number of identical tube segments | n |  |  | (N.A) |  | (-) |  |  |  |  |  |  |  |  |  |  |  |
| Radiant factor |  |  |  |  |  |  |  |  | Envelope losses |  |  |  |  |  |  |  |  |
| Radiant factor at nominal heat output | RFnom |  |  | 59,2 |  | (-) |  |  | Envelope insulation class |  |  |  | U |  | (N.A) |  | W/ (m²K) |
| Radiant factor at minimum heat output | RFmin |  |  | (N.A) |  | (-) |  |  | Envelope loss factor |  |  |  | F env |  | (N.A) |  | % |
| Radiant factor of tube segment at nominal heat output | RFi |  |  | (N.A) |  | (-) |  |  | Heat generator to be installed outside the heated area |  |  |  |  |  | No |  |  |
| (repeat for multiple segments, if applicable) | .. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Auxiliary electricity consumption |  |  |  |  |  |  |  |  | Heat output control type ( select one) |  |  |  |  |  |  |  |  |
| At nominal heat output | el max |  |  | 0,247 |  | kW |  |  | Single stage |  |  |  |  |  | yes |  |  |
| At minimum heat output | el min |  |  | 0,247 |  | kW |  |  | Two stage |  |  |  |  |  | no |  |  |
| In standby mode | el SB |  |  | (N.A) |  | kW |  |  | Modulating |  |  |  |  |  | no |  |  |
| Permanent pilot flame power requirement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pilot flame power requirement (if applicable) |  | P pilot | (N.A) |  |  | kW |  |  |  |  |  |  |  |  |  |  |  |
| Contact details |  | SOLARONICS Chauffage SA. 78 rue du Kemmel - B.P. 30173 – 59428 ARMENTIERES CEDEX France |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (*) NOx = nitrogen oxides |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Model identifier : TRIATHERM EUROLINE HARMOLINE BRT 40 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of heating : Radiant tube |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel |  |  |  |  | Fuel |  |  |  |  |  | Space heating emissions(*) |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | NOx |  |  |  |  |  |  |
| Select fuel type |  |  |  |  | Gaseous |  |  | G20/G25/G31 |  |  | 138 mg/kWh input(GCV) |  |  |  |  |  |  |
| Characteristics when operating with the preferred fuel only |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item | Symbol |  |  | Value |  | Unit |  |  | Item |  |  | Symbol |  | Value |  | Unit |  |
| Heat output |  |  |  |  |  |  |  |  | Useful efficiency (GCV) – Tube local space heaters only |  |  |  |  |  |  |  |  |
| Nominal heat output | Pnom |  |  | (N.A) |  | kW |  |  | Useful efficiency (GCV) at nominal heat output |  |  |  | Ƞth, nom |  | 82,1 |  | % |
| Minimum heat output | Pmin |  |  | (N.A) |  | kW |  |  | Useful efficiency at minimum heat output |  |  |  | Ƞth,min |  | (N.A) |  | % |
| Minimum heat output ( as percentage of nominal heat output) | .. |  |  | (N.A) |  | % |  |  |  |  |  |  |  |  |  |  |  |
| Nominal tube system heat output ( if applicable) | P system |  |  | (N.A) |  | kW |  |  |  |  |  |  |  |  |  |  |  |
| Nominal tube segment heat output (if applicable) | P heater |  |  | 36,4 |  | kW |  |  | Useful efficiency of tube segment at minimum heat output ( if applicable) |  |  |  | Ƞi |  | (N.A) |  | % |
| (Repeat for multiple segment, if applicable) | .. |  |  | (N.A) |  | kW |  |  | (repeat for multiple segments, if applicable) |  |  |  | .. |  | (N.A) |  | % |
| Number of identical tube segments | n |  |  | (N.A) |  | (-) |  |  |  |  |  |  |  |  |  |  |  |
| Radiant factor |  |  |  |  |  |  |  |  | Envelope losses |  |  |  |  |  |  |  |  |
| Radiant factor at nominal heat output | RFnom |  |  | 59,2 |  | (-) |  |  | Envelope insulation class |  |  |  | U |  | (N.A) |  | W/ (m²K) |
| Radiant factor at minimum heat output | RFmin |  |  | (N.A) |  | (-) |  |  | Envelope loss factor |  |  |  | F env |  | (N.A) |  | % |
| Radiant factor of tube segment at nominal heat output | RFi |  |  | (N.A) |  | (-) |  |  | Heat generator to be installed outside the heated area |  |  |  |  |  | No |  |  |
| (repeat for multiple segments, if applicable) | .. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Auxiliary electricity consumption |  |  |  |  |  |  |  |  | Heat output control type ( select one) |  |  |  |  |  |  |  |  |
| At nominal heat output | el max |  |  | 0,247 |  | kW |  |  | Single stage |  |  |  |  |  | yes |  |  |
| At minimum heat output | el min |  |  | 0,247 |  | kW |  |  | Two stage |  |  |  |  |  | no |  |  |
| In standby mode | el SB |  |  | (N.A) |  | kW |  |  | Modulating |  |  |  |  |  | no |  |  |
| Permanent pilot flame power requirement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pilot flame power requirement (if applicable) |  | P pilot | (N.A) |  |  | kW |  |  |  |  |  |  |  |  |  |  |  |
| Contact details |  | SOLARONICS Chauffage SA. 78 rue du Kemmel - B.P. 30173 – 59428 ARMENTIERES CEDEX France |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (*) NOx = nitrogen oxides |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |