Information

| Model identifier : TRIATHERM EUROLINE HARMOLINE BRT 20 |
| --- |
| Type of heating : Radiant tube |
| Fuel | Fuel |  |  | Space heating emissions(*) |
|  |  |  |  | NOx |
| Select fuel type | Gaseous | G20/G25/G31 |  | 131 mg/kWh input(GCV) |
| Characteristics when operating with the preferred fuel only |
| Item | Symbol | Value | Unit |  | Item | Symbol | Value | Unit |
| Heat output |  |  |  |  | Useful efficiency (GCV) – Tube local space heaters only |
| Nominal heat output | Pnom | (N.A) | kW |  | Useful efficiency (GCV) at nominal heat output | Ƞth, nom | 82,1 | % |
| Minimum heat output | Pmin | (N.A) | kW |  | Useful efficiency at minimum heat output | Ƞth,min | (N.A) | % |
| Minimum heat output ( as percentage of nominal heat output) | .. | (N.A) | % |  |  |  |  |  |
| Nominal tube system heat output ( if applicable) | P system | (N.A) | kW |  |  |  |  |  |
| Nominal tube segment heat output (if applicable) | P heater | 18,2 | kW |  | Useful efficiency of tube segment at minimum heat output ( if applicable) | Ƞi | (N.A) | % |
| (Repeat for multiple segment, if applicable) | .. | (N.A) | kW |  | (repeat for multiple segments, if applicable) | .. | (N.A) | % |
| Number of identical tube segments | n | (N.A) | (-) |  |  |  |  |  |
| Radiant factor |  |  |  |  | Envelope losses |  |  |  |
| Radiant factor at nominal heat output | RFnom | 59,2 | (-) |  | Envelope insulation class | U | (N.A) | W/ (m²K) |
| Radiant factor at minimum heat output | RFmin | (N.A) | (-) |  | Envelope loss factor | F env | (N.A) | % |
| Radiant factor of tube segment at nominal heat output | RFi | (N.A) | (-) |  | Heat generator to be installed outside the heated area |  | No |  |
| (repeat for multiple segments, if applicable) | .. |  |  |  |  |  |  |  |
| Auxiliary electricity consumption |  | Heat output control type ( select one) |
| At nominal heat output | el max | 0,247 | kW |  | Single stage | yes |  |
| At minimum heat output | el min | 0,247 | kW |  | Two stage | no |  |
| In standby mode | el SB | (N.A) | kW |  | Modulating | no |  |
| Permanent pilot flame power requirement |  |  |
| Pilot flame power requirement (if applicable) | P pilot | (N.A) | kW |  |  |
| Contact details | SOLARONICS Chauffage SA. 78 rue du Kemmel - B.P. 30173 – 59428 ARMENTIERES CEDEX France |
| (*) NOx = nitrogen oxides |

| Model identifier : TRIATHERM EUROLINE HARMOLINE BRT 30 |
| --- |
| Type of heating : Radiant tube |
| Fuel | Fuel |  |  | Space heating emissions(*) |
|  |  |  |  | NOx |
| Select fuel type | Gaseous | G20/G25/G31 |  | 132 mg/kWh input(GCV) |
| Characteristics when operating with the preferred fuel only |
| Item | Symbol | Value | Unit |  | Item | Symbol | Value | Unit |
| Heat output |  |  |  |  | Useful efficiency (GCV) – Tube local space heaters only |
| Nominal heat output | Pnom | (N.A) | kW |  | Useful efficiency (GCV) at nominal heat output | Ƞth, nom | 82,1 | % |
| Minimum heat output | Pmin | (N.A) | kW |  | Useful efficiency at minimum heat output | Ƞth,min | (N.A) | % |
| Minimum heat output ( as percentage of nominal heat output) | .. | (N.A) | % |  |  |  |  |  |
| Nominal tube system heat output ( if applicable) | P system | (N.A) | kW |  |  |  |  |  |
| Nominal tube segment heat output (if applicable) | P heater | 27,3 | kW |  | Useful efficiency of tube segment at minimum heat output ( if applicable) | Ƞi | (N.A) | % |
| (Repeat for multiple segment, if applicable) | .. | (N.A) | kW |  | (repeat for multiple segments, if applicable) | .. | (N.A) | % |
| Number of identical tube segments | n | (N.A) | (-) |  |  |  |  |  |
| Radiant factor |  |  |  |  | Envelope losses |  |  |  |
| Radiant factor at nominal heat output | RFnom | 59,2 | (-) |  | Envelope insulation class | U | (N.A) | W/ (m²K) |
| Radiant factor at minimum heat output | RFmin | (N.A) | (-) |  | Envelope loss factor | F env | (N.A) | % |
| Radiant factor of tube segment at nominal heat output | RFi | (N.A) | (-) |  | Heat generator to be installed outside the heated area |  | No |  |
| (repeat for multiple segments, if applicable) | .. |  |  |  |  |  |  |  |
| Auxiliary electricity consumption |  | Heat output control type ( select one) |
| At nominal heat output | el max | 0,247 | kW |  | Single stage | yes |  |
| At minimum heat output | el min | 0,247 | kW |  | Two stage | no |  |
| In standby mode | el SB | (N.A) | kW |  | Modulating | no |  |
| Permanent pilot flame power requirement |  |  |
| Pilot flame power requirement (if applicable) | P pilot | (N.A) | kW |  |  |
| Contact details | SOLARONICS Chauffage SA. 78 rue du Kemmel - B.P. 30173 – 59428 ARMENTIERES CEDEX France |
| (*) NOx = nitrogen oxides |

| Model identifier : TRIATHERM EUROLINE HARMOLINE BRT 40 |
| --- |
| Type of heating : Radiant tube |
| Fuel | Fuel |  |  | Space heating emissions(*) |
|  |  |  |  | NOx |
| Select fuel type | Gaseous | G20/G25/G31 |  | 138 mg/kWh input(GCV) |
| Characteristics when operating with the preferred fuel only |
| Item | Symbol | Value | Unit |  | Item | Symbol | Value | Unit |
| Heat output |  |  |  |  | Useful efficiency (GCV) – Tube local space heaters only |
| Nominal heat output | Pnom | (N.A) | kW |  | Useful efficiency (GCV) at nominal heat output | Ƞth, nom | 82,1 | % |
| Minimum heat output | Pmin | (N.A) | kW |  | Useful efficiency at minimum heat output | Ƞth,min | (N.A) | % |
| Minimum heat output ( as percentage of nominal heat output) | .. | (N.A) | % |  |  |  |  |  |
| Nominal tube system heat output ( if applicable) | P system | (N.A) | kW |  |  |  |  |  |
| Nominal tube segment heat output (if applicable) | P heater | 36,4 | kW |  | Useful efficiency of tube segment at minimum heat output ( if applicable) | Ƞi | (N.A) | % |
| (Repeat for multiple segment, if applicable) | .. | (N.A) | kW |  | (repeat for multiple segments, if applicable) | .. | (N.A) | % |
| Number of identical tube segments | n | (N.A) | (-) |  |  |  |  |  |
| Radiant factor |  |  |  |  | Envelope losses |  |  |  |
| Radiant factor at nominal heat output | RFnom | 59,2 | (-) |  | Envelope insulation class | U | (N.A) | W/ (m²K) |
| Radiant factor at minimum heat output | RFmin | (N.A) | (-) |  | Envelope loss factor | F env | (N.A) | % |
| Radiant factor of tube segment at nominal heat output | RFi | (N.A) | (-) |  | Heat generator to be installed outside the heated area |  | No |  |
| (repeat for multiple segments, if applicable) | .. |  |  |  |  |  |  |  |
| Auxiliary electricity consumption |  | Heat output control type ( select one) |
| At nominal heat output | el max | 0,247 | kW |  | Single stage | yes |  |
| At minimum heat output | el min | 0,247 | kW |  | Two stage | no |  |
| In standby mode | el SB | (N.A) | kW |  | Modulating | no |  |
| Permanent pilot flame power requirement |  |  |
| Pilot flame power requirement (if applicable) | P pilot | (N.A) | kW |  |  |
| Contact details | SOLARONICS Chauffage SA. 78 rue du Kemmel - B.P. 30173 – 59428 ARMENTIERES CEDEX France |
| (*) NOx = nitrogen oxides |